Project Management System

ENERGY & UTILITIES

Guidance for completing Corporate Considerations

##### The UK’s Climate Act 2008 issued a legally binding target of at least an 80% cut in greenhouse gas emissions by 2050, also a reduction in emissions of at least 34% by 2020.

- Have you considered which option improves energy performance and reduces running costs? You should look at the whole life costings of a project rather than just the installation costs.

- Is it possible to upgrade your chosen option to a more energy efficient model, there may be funding available to enable this. User requirements should be met with minimal energy use.

- Don’t just think about the installation of your option but how it will be used. Is it possible for the end user to manage and operate this option in an energy efficient way.

- Consider the effect human factors will have on your option once it is in place, methods should be considered to minimise the energy increases that occupant control may have. You may need to consider the controls needed for your option and ensure that there is sufficient control to maintain the desired level of service, comfort and safety in an energy efficient manner. Inform the Energy Centre of any controls they will manage, input will be needed as to suitable options and viability.

- Have you considered the maintenance issues surrounding your option; will maintenance be needed to ensure that the option is operating at its most energy efficient?

- Have you considered the use of different fuel types, consideration should be given to those least harmful to the environment? Where possible include renewable sources of energy as an integral part of the design. On-site generation may also be an option.

- Have you thought about any future use of your option you should ensure you have requested adequate capacity for this?

- Ensure there is sufficient metering and sub-metering to ensure the performance of your option can be continually monitored

- Utilities should be on the council’s portfolio, contact the Energy Centre for supplies.

- Monitoring and targeting of energy should be carried out by the Energy Centre where appropriate, with on-site support.

- Have you set any targets and/or met national targets in terms of energy use and carbon emissions.

For further advice and guidance contact:

Email 	energy@newcastle.gov.uk

Web 	www.newcastle.gov.uk/energycentre

Tel	0191 278 3427